Behind Old Switchbaord

Old Rubber cabling behind switchboard. And unsafe fuses.

Rubber cabling behind old switchboard

Rubber cabling behind old switchboard 1

Rubber VIR cable installed in the 50, s. this cable falls apart when you handle it and needs to be replaced immediately.